## Slide 1
Istanbul, 10-11 November 2011.
Joint Research Centre, European Commission, Ispra, Italy
JRC Contribution
to the
NATO SfP Bio-Optical project
Giuseppe Zibordi and Jean-Francois Berthon

## Slide 2
The Cal/Val Paradigm and In Situ Data
Atmosphere
Sea Surface
Data Reception
and Processing
Remote Sensor
Vicarious Calibration
Atmosphere
Sea Surface
In Situ Instrument
Calibration
Products Development
Traceable
Reference
Remote Sensor
Pre-Launch Calibration
Products Validation

## Slide 3
BiOMaP (Bio-Optical Marine Properties):
a European Ocean Color Development Program
BiOMaP measurements are produced applying cross-site identical and consolidated: technology, measurement and calibration protocols, processing codes and quality assurance criteria.
BiOMaP
Ships
Southern Baltic Sea May04,Sep04,Apr05
Baltic Proper, Gulf of Bothnia, Gulf of Finland Aug06,Aug07,Aug08
Black Sea
Jun06,May09
East.Med.Sea,Ionian Sea, S.Adr.Sea, Sep06,Apr07
English Channel, North Sea Jun04
Adriatic Sea Jul00
n=206
n=55
n=55
n=131
n=170
n=108
Ligurian Sea Oct08,Mar09
N=829 from 2000-2009
n=104
G. Zibordi, J.-F. Berthon, F. Mélin and D. D’Alimonte. Cross-site consistent in situ measurements for satellite ocean color applications: the BiOMaP radiometric dataset. Remote Sensing of Environment,115, 2104–2115, 2011.

## Slide 4: BiOMaP measurements
Profiles (manned)
Field measurements
·
Profiles of
L
u
(z,
l
)
,
E
u
(z,
l
)
, and
E
d
(z,
l
)
·
Profiles of
c(z,
l
)
and
a(z,
l
)
(from 01/97)
·
Profiles of
b
b
(z,
l
)
(from 04/00)
·
E
d
(0
+
,
l
)
and
E
i
(0
+
,
l
)
·
E
s
(0
+
,
l
)
·
Ancillary
(
T
w
(z)
,
S
W
(z)
,
P
a
,
RH
,
T
a
,
W
s
,
W
d
,
C
,
M
)
Samples (conditioned)
Related laboratory analysis
from field water samples
·
Pigments (HPLC)
·
a
ph
(
l
)
and
a
dp
(
l
)
·
a
ys
(
l
)
·
TSM
·
Ancillary (
PSD
)
(up to 10/98)
Field
Equipment

## Slide 5
Profiling Systems

## Slide 6
Field Campaigns in the Black Sea (1)
June 2006
May 2009

## Slide 7
Field Campaigns in the Black Sea (2)
July 2011

## Slide 8
Quantity | Symbol | Wavelengths range or center-wav. | Instrument/Method
Remote sensing reflectance | Rrs | 412,443,490,510,555,670,683 nm | JRC and NATO Satlantic micro-profiler
Diffuse attenuation coefficient | Kd | 412,443,490,510,555,670,683 nm | JRC and NATO Satlantic micro-profiler
Total absorption coefficient | a | 412,443,490,510,555, 630, 650, 676,715 nm | JRC WetLab AC-9
Absorption coefficient of pigmented particles | ap | 400-750 nm (with 1 nm resolution) | Spectrometry (JRC Perkin-Elmer Lambda 900)
Absorption coefficient of non-pigmented particles | adt | 400-750 nm (with 1 nm resolution) | Spectrometry (JRC Perkin-Elmer Lambda 900)
Absorption coefficient of colored diss. organic matter | ay | 350-750 nm (with 1 nm resolution) | Spectrometry (JRC Perkin-Elmer Lambda 12)
Scattering coefficient | b | 412,443,490,510,555, 630, 650, 676,715 nm | JRC WetLab AC-9
Backscattering coefficient | bb | 443,490,510,555,620, 670 nm | JRC HobiLabs Hydroscat-6
Volume scattering function |  | 443,490,510, 532, 555,590, 620 nm | MHI VSF_Meter
Pigments concentration | Chl | Includes total chlorophyll-a | HPLC
Total suspended matter | TSM |  | Filtration and weighting
Salinity and temperature | S & T | Typically down to 25-35 m | JRC and Mare Nigrum CTDs
Aerosol optical thickness | a | 440, 490, 550, 670, 870 nm | JRC and NATO Sun-photometers
Fluorescence | Fl | Includes chlorophyll a and colored dissolved organic matter fluorescence | SIO Fluorometer
Measurements performed by the JRC during the NATO Cruises